| FY2001 STATE LOAN DRINKING WATER PROJECT PRIORITY Approved June 22, 2000 SORTED BY RANK AND RATING DW |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Rank | Project | FY 2001 Rating | Pop | Regional Office | DEQ Est. Loan Amt. | Project Description |
| 1 | Rivers Pointe HOA | 215 | 140 | BOI | 50,000 | Expand Filtration System (SWTR) |
| 2 | Bruneau Water & Sewer Dist | 196 | 80 | BOI | 286,000 | Fluoride Treatment |
| 3 | Four Seasons Ranch #2 | 172 | 160 | POC | 60,000 | Reverse Osmosis Filter and Pressure Tank |
| 4 | Ashton | 148 | 1,180 | IdF | 450,000 | Treatment Improvements |
| 5 | McCall, City of | 134 | 2,005 | BOI | 5,000,000 | Installation of Filtration (SWTR) |
| 6 | Valley View WS Dist | 133 | 150 | LEW | 500,000 | New well and wellhouse |
| 7 | Parkview Water Assn | 132 | 90 | CdA | 20,000 | 2nd well needed to eliminate nitrate contamination |
| 8 | Black Cliffs MH Park | 130 | 100 | POC | 70,000 | Connect to Pocatello Water System |
| 9 | Central Shoshone Cnty Wtr Dst | 104 | 4,052 | CdA | 1,500,000 | Upgrade Shoshone County well, lead-copper treatment, replace transmission line |
| 10 | Pocatello | 95 | 51,344 | POC | 2,000,000 | Drinking Water Aeration Facility |
| 11 | Laclede Wtr District | 94 | 400 | CdA | 150,000 | Phase II Water Treatment Plant Improvements |
| 12 | Burke-East Shoshone County Water Dist | 90 | 100 | CdA | 400,000 | SWTR Compliance |
| 13 | Idaho City, City of | 87 | 397 | BOI | 118,000 | Install Chlorine Contact |
| 14 | Kingston Wtr District | 84 | 800 | CdA | 600,000 | Install Filtration or Well (SWTR) Corrosion Control (SDWA) |
| 15 | Bancroft, City of | 81 | 430 | POC | 100,000 | New wells and water lines |
| 16 | Little Blacktail Ranch Park | 81 | 60 | CdA | 30,000 | New Wells |
| 17 | Riverside Independent W/S Dist | 80 | 77 | LEW | 1,180,000 | New Storage Tank, WTP Upgrade |
| 18 | Clifton | 79 | 250 | POC | 150,000 | New Well and Distribution Upgrade |
| 19 | Salmon, City of | 76 | 154 | IdF | 5,500,000 | Upgrade Coagulation and Filter System and Add 1.5 MG storage |
| 20 | Priest River, City of | 71 | 2,000 | CdA | 750,000 | Additional storage reservoir and addl contact time |
| 21 | Bloomington | 70 | 300 | POC | 200,000 | New Storage System |
| 22 | Weiser, City of | 69 | 5,262 | BOI | 2,000,000 | New flocculation, sedimentation, chem feed and storage bldg, change from chlorine gas to another disinfectant, new clear well. |
| 23 | Deary, City of | 68 | 529 | LEW | 120,000 | New well or well upgrade |
| 24 | Genesee, City of | 67 | 775 | LEW | 500,000 | New Well and Wellhouse |
| 25 | West Mtn.Water User Assn. / South Lake Wtr & Sewer Dist | 66 | 150 | BOI | 500,000 | New Supply and/or Filtration (SWTR) and Distribution Lines |
| 26 | North Oakley Holding Co | 66 | 100 | TwF | 517,000 | Second Source, Storage, Distribution |
| 27 | Filer, City of | 66 | 1,640 | TwF | 350,000 | Well, Pump Controls and Distribution System |
| 28 | Elm Park | 65 | 130 | TwF | 75,000 | Upgrade |
| 29 | Atlanta Water Assn. | 65 | 50 | BOI | 20,000 | Re-coat Storage Tanks |
| 30 | Smith Road Wtr Users | 62 | 66 | POC | 50,000 | New Well and Storage Tank |
| 31 | Arimo, City of | 61 | 320 | POC | 300,000 | New Well and Distribution System Upgrade |
| 32 | North Forks Water Works | 60 | 64 | IdF | 30,000 | Install Corrosion Control / Disinfection |
| 33 | Pocatello, City of | 58 | 53,074 | POC | 750,000 | Three(3) new wells |
| 34 | Weippe, City of | 56 | 805 | LEW | 250,000 | New Storage Reservoir |
| 35 | Homedale, City of | 55 | 1,963 | BOI | 500,000 | System Upgrade |
| 36 | Rapid River Subdivision | 55 | 89 | LEW | 200,000 | Disinfection and Contact Time |
| 37 | Whitney-Nashville Wtr Dst | 55 | 400 | POC | 235,000 | New Storage and Meters |
| 38 | Georgetown | 54 | 1,557 | POC | 100,000 | Spring reconstruction |
| 39 | Carey Water & Sanitation Dist. | 54 | 150 | TwF | 250,000 | New Source &Wellhouse |
| 40 | Twin Falls Joslin Field | 54 | 32,000 | TwF | 400,000 | Storage, Pump Station Retrofit and Distribution |
| 41 | New Hope | 53 | 49 | LEW | 40,000 | New Well |
| 42 | Jerome | 52 | 7,250 | TwF | 1,764,954 | Distribution System, Retrofit Small Water Lines |
| 43 | Valley View Heights | 52 | 65 | IdF | 30,000 | Install Corrosion Control |
| 44 | Challis, City of | 50 | 1,073 | IdF | 800,000 | Needs to Increase Contact Time for SWTR |
| 45 | Kootenai County Water Dist. | 48 | 450 | CdA | 447,000 | Water Treatment and Disinfection |
| 46 | Serenity Terrace MH Park | 47 | 26 | CdA | 25,000 | Water Treatment, Construct Well house and land purchase |
| 47 | Rexburg | 47 | 15,000 | IdF | 250,000 | Disinfection System |
| 48 | Franklin | 46 | 500 | POC | 50,000 | Acquire Property Adjacent to Source |
| 49 | Stites | 46 | 253 | LEW | 6,000 | Reservoir Repair |
| 50 | Del Rio Estates | 46 | 46 | TwF | 10,000 | New Source |
| 51 | Donnelly, City of | 44 | 135 | BOI | 210,000 | Back-up Well |
| 52 | McCammon | 44 | 800 | POC | 250,000 | Upgrade Distribution System |
| 53 | Scriver Woods HOA | 43 | 75 | BOI | 25,000 | Corrosion Control for Lead and Copper |
| 54 | New Horizon Wtr Assn | 43 | 85 | BOI | 125,000 | Back Up Well, Storage and Distribution Improvements |
| 55 | Murtaugh, City of | 43 | 130 | TwF | 750,000 | Well, Distribution and Storage |
| 56 | Orofino, City of | 42 | 1,609 | LEW | 2,000,000 | New Tank, Distribution Upgrade and WTP Upgrade |
| 57 | Eagle Water | 42 | 8,000 | BOI | 700,000 | Construct a 2-million gallon reservoir |
| 58 | Fishhaven Pipeline Co. | 41 | 200 | POC | 250,000 | Upgrade Dist. System |
| 59 | Leisure Acres | 41 | 180 | CdA | 50,000 | Corrosion Control and Dist. System Replacement |
| 60 | Tammany Alternative Ctr | 41 | 225 | LEW | 115,000 | 35,000 ft of 8" pipe - top connect to LOID |
| 61 | Driggs, City of | 41 | 835 | IdF | 2,000,000 | Install filter system |
| 62 | Cambridge, City of | 41 | 383 | BOI | 1,500,000 | Distribution, Storage, and Upgrade Well #1 |
| 63 | Star Water & Sewer Dst | 41 | 1,344 | BOI | 20,000 | Telemetry system, treatment system, and bldg for well #2 |
| 64 | Rolling Hills Wtr Co. | 40 | 250 | BOI | 30,000 | Replace old 50 hp pumps |
| 65 | Payette, City of | 40 | 5,592 | BOI | 500,000 | Construct a 1-million gallon reservoir |
| 66 | Burley, City of | 40 | 9,500 | TwF | 2,250,000 | Dist. System, storage, telemetry |
| 67 | Blackfoot, City of | 39 | 9,600 | POC | 200,000 | New water line installation west of Snake River |
| 68 | Sagle Valley Water/Sewer Dist | 39 | 70 | CdA | 136,000 | New well and water main replacement |
| 69 | Lewiston, City of | 39 | 14,052 | LEW | 9,075,000 | New Water Treatment Plant, New 1-million gallon storage tank |
| 70 | Groveland Wtr Swr Dst | 39 | 200 | POC | 330,000 | New well, addl storage, upgrade dist. system |
| 71 | Shoshone County | 38 | 4,052 | CdA | 500,000 | Upgrade Enaville Well |
| 72 | Montpelier, City of | 36 | 3,000 | POC | 520,000 | New Well, Storage Reservoir, Dist. Upgrade |
| 73 | Round Valley Water Assn-Challis | 35 | 125 | IdF | 150,000 | Addl water storage and repair of existing well |
| 74 | Dubois, City of | 35 | 300 | IdF | 20,000 | Replace Pump and shaft at well #1 |
| 75 | Aberdeen, City of | 33 | 1,800 | POC | 3,200,000 | New well and water lines |
| 76 | Atomic City, City of | 33 | 60 | POC | 200,000 | New Well and dist system upgrade |
| 77 | Grandview Water & Sewer Assn | 33 | 450 | BOI | 150,000 | Wastewater Treatment upgrade-nitrate problem |
| 78 | Riverbend Estates | 33 | 25 | POC | 50,000 | New well |
| 79 | Island Village MH Park | 32 | 70 | BOI | 20,000 | New well, new pumphouse |
| 80 | Eagle West Subdivision | 32 | 92 | BOI | 100,000 | Replace water main |
| 81 | Buhl, City of | 32 | 3,600 | TwF | 1,700,000 | Loop system and storage |
| 82 | Notus, City of | 32 | 3,380 | BOI | 500,000 | New source distribution and storage improvements |
| 83 | Hulen Meadows Wtr Sys | 30 | 390 | TwF | 350,000 | New well source, new reservoir and meter system |
| 84 | Hauser Lake Wtr Assn. | 30 | 850 | CdA | 850,000 | New reservoir, replace transmission mains and dist. piping |
| 85 | New Plymouth, City of | 30 | 1,313 | BOI | 800,000 | Back up source, dist. and storage improvements |
| 86 | Valhalla Hills | 30 | 75 | LEW | 120,000 | Fix water lines, install new well |
| 87 | Albion, City of | 28 | 310 | TwF | 10,000 | Increase well depth |
| 88 | Kimberly, City of | 27 | 2,361 | TwF | 400,000 | Dist. system and meters |
| 89 | Picabo, City of | 26 | 50 | TwF | 35,000 | New source |
| 90 | Riggins, City of | 26 | 430 | LEW | 5,000 | Upgrade chlorination system |
| 91 | El Rancho Heights | 25 | 235 | BOI | 100,000 | Back up well and storage |
| 92 | Hailey, City of | 25 | 6,500 | TwF | 1,669,850 | Storage reservoir and new source |
| 93 | Hazelton, City of | 25 | 550 | TwF | 522,000 | Storage, new well, systems control and distribution |
| 94 | West Bonner Water Dist | 24 | 500 | CdA | 800,000 | Replace Transmission Line |
| 95 | Greenleaf Water Assn. | 24 | 500 | BOI | 250,000 | System upgrade |
| 96 | Lapwai, City of | 23 | 932 | LEW | 150,000 | New storage tank, distribution system upgrade |
| 97 | Victor, City of | 22 | 292 | IdF | 300,000 | Upgrade Spring (GWUDI) |
| 98 | Eden, City of | 21 | 345 | TwF | 60,000 | Generator and distribution system |
| 99 | Holbrook, City of | 20 | 50 | POC | 50,000 | New pump and distribution system |
| 100 | Cottonwood, City of | 20 | 941 | LEW | 70,000 | New well and remodel |
| 101 | Spendid Acres | 20 | 88 | BOI | 16,000 | Upgrade distribution system |
| 102 | Elm Park Water System | 19 | 130 | TwF | 75,000 | Dist. and Generator upgrade |
| 103 | Wymosa Water Assn | 19 | 30 | BOI | 10,000 | Replacement of water lines, update of pumps |
| 104 | Plummer, City of | 18 | 800 | CdA | 565,000 | New Transmission Line |
| 105 | Hayden Lake Irrigation Dst | 18 | 1,850 | CdA | 1,500,000 | New water storage tank |
| 106 | Preston, City of | 18 | 4,355 | POC | 1,400,000 | Water main extension and meters |
| 107 | Snake River RV Resort | 17 | 28 | BOI | 20,000 | Install secondary water treatment |
| 108 | Sky Ranch Estates | 17 | 27 | BOI | 100,000 | Increase storage capacity |
| 109 | Grangeville, City of | 16 | 3,226 | LEW | 800,000 | Upgrade high pressure zone, repair leaks, upgrade dead-end lines |
| 110 | Wayside Estates | 16 | 50 | TwF | 30,000 | New source |
| 111 | Skin Creek Wtr Assn | 16 | 150 | CdA | 45,000 | Dist. system upgrade to correct pressure problems |
| 112 | Dalton Gardens Wtr Assn-Inc. | 16 | 2,000 | CdA | 150,000 | Water main replacement |
| 113 | Northside Water Users Assn | 16 | 350 | CdA | 55,000 | New transmission line |
| 114 | Beeline Water Assn, Inc. | 14 | 121 | CdA | 140,000 | Upgrade Dist. System |
| 115 | Ahsahka Wtr System | 12 | 85 | LEW | 120,000 | New Well and System Upgrade |
| 116 | Ross Point Wtr Dist | 12 | 3,000 | CdA | 200,000 | New well and transmission line, pumphouse |
| 117 | Arco, City of | 12 | 700 | POC | 300,000 | Upgrade Dist. System |
| 118 | Cottonwood Point Wtr Assn | 12 | 63 | CdA | 50,000 | New storage tank |
| 119 | North Fork Trailer Court | 11 | 70 | TwF | 30,000 | Filter system |
| 120 | Pineridge Wtr & Swr Dst | 11 | 390 | LEW | 300,000 | Replace 4" water main with 6" wtr main, replace galv, service lines, control valves and hydrants |
| 121 | Craigmont, City of | 10 | 542 | LEW | 120,000 | Replace hydrants, water mains, service lines, separate water/sewer lines |
| 122 | McKinney MH Park | 10 | 45 | LEW | 40,000 | New well |
| 123 | Buffalo River Estates | 5 | 120 | IdF | 125,000 | Install new well and dist. lines |
| 124 | Happy Valley Rancho Water Inc. | 5 | 250 | CdA | 20,000 | Recoat and/or replacement water storage tanks |
| 125 | Onaway, City of | 2 | 290 | LEW | 5,000 | System upgrade |
| 126 | Travel America Park | 2 | 50 | CdA | 20,000 | New well |
| 127 | Garden Valley School Dst | 2 | 200 | BOI | 3,000,000 | Drill potable well for school |

WARNING: USE OF THIS LIST AS A MAILING LIST OR A TELEPHONE NUMBER LIST IS PROHIBITED BY IDAHO CODE SECTION 9-348 AND IS PUNISHABLE BY A CIVIL PENALTY OF UP TO $1,000.

(SWTR) - Improvements required to comply with Surface Water Treatment Rule                      (SDWA) - Improvements needed to comply with Lead-Copper Rule

H:\DATA\WP61\PRIORITY\2001\DW512.WPD