Checklist for Control Chart Reviews

Essential Items

_____ Control Charts cover entire scope (are available for each measurement parameter).

Missing areas:

_____ Control charts have titles (or otherwise include)

______ Laboratory name or other identifying information

______ SOP(s)

______ Balance/Other equipment

______ Standard ID, Check standard ID

______ Nominal load/value

______ dates/chronology/time periods if not used on the x axis

______ Legends if multiple series and extra information are plotted; to avoid confusion

______Control charts have x and y axis with labels and

______all measurement values have units of measure associated with them

______ Control charts have

______mean value (and units)

______standard deviation (and units)

______d.f. (if not obvious and a small number)

______ alternative summaries of this information and suitable references (e.g., tables)

______PMAP printed summary reports of control data with the charts

______reference values and source and bias if appropriate/available

______	Control charts have limits that are based on

______statistical controls of

______warning limits (i.e.,2 sd) and

______action/control limits (i.e., 3 sd

Or	______specification limits (e.g., tolerances or smaller ratios of tolerances)

______ Range charts have (additionally or differently from other control charts)

______average range (volume, length)

______no values below zero

______appropriate limits based on R limits

Good Items (on chart or in “database”)

______ Control charts have (when applicable and meaningful if not otherwise noted, e.g., in a table)

______Tolerances: when applicable

______Uncertainties: for reference value, check standard, and the process output

______Equipment information: device readability, configuration (stability settings/timing)

______Standard information:  calibration date and interval information

______Responsible staff: need on chart or in database

______Status of control: in control, out of control

______History:  previous limits and history of the chart/data

______Other items noted (with comments)

______

______